Office for Nuclear Regulation (ONR)
Site Report for
Wylfa

Report for period 1 July 2022 to 31 December 2022

Foreword
This report is issued as part of ONR's commitment to make information about inspection and regulatory activities relating to the above site available to the public. Reports are distributed to members for the Wylfa Site Stakeholder Group (SSG) and are also available on the ONR website (http://www.onr.org.uk/llc/).
Site inspectors from ONR usually attend Wylfa SSG meetings where these reports are presented and will respond to any questions raised there. Any person wishing to inquire about matters covered by this report should contact ONR.

Table of Contents

Inspections
  1. Dates of Inspection
ONR Inspectors made inspections on the following dates during the report period 1 July 2022 to 31 December 2022:
- 23 August 2022
- 21 to 22 September 2022
- 17 November 2022
- 21 November 2022

Routine Matters
  1. Inspections
Inspections are undertaken as part of the process for monitoring compliance with:
- the conditions attached by ONR to the nuclear site licence granted under the Nuclear Installations Act 1965 (NIA65) (as amended);
- the Energy Act 2013;
- the Health and Safety at Work etc Act 1974 (HSWA74);
- regulations made under HSWA74, for example the Ionising Radiations Regulations 2017 (IRR17) and the Management of Health and Safety at Work Regulations 1999 (MHSWR99);
- Nuclear Industries Security Regulations (NISR) 2003 (as amended); and
- Regulatory Reform (Fire Safety) Order 2005.
The inspections entail monitoring licensee’s actions on the site in relation to incidents, operations, maintenance, projects, modifications, safety case changes and any other matters that may affect safety and security. The licensee is required to make and implement adequate arrangements under the conditions attached to the licence in order to ensure legal compliance. Inspections seek to judge both the adequacy of these arrangements and their implementation.
In this period, routine inspections of Wylfa covered the following:
- incidents on the site;
- management of operations including control and supervision;
- waste management (radioactive and controlled waste);
- decommissioning;
- conventional (non-nuclear) health and safety; and
- security.
Our waste management inspection carried out in September 2022 was conducted jointly with Natural Resources Wales (supported by the Environment Agency).
An inspection of Wylfa’s emergency arrangements planned for 20 September 2022 was postponed until January 2023 due to the state funeral for Her Majesty the Queen taking place on Monday 19th September, and the impact this had on availability of emergency services and other personnel.
Members of the public, who would like further information on ONR’s inspection activities during the reporting period, can view site intervention reports at www.onr.org.uk/intervention-records on our website www.onr.org.uk .Should you have any queries regarding our inspection activities, please email contact@onr.gov.uk.

  1. Other Work

Throughout this reporting period, ONR’s nominated site safety inspector has held fortnightly meetings with a Wylfa leadership team representative to maintain situational awareness on matters related to nuclear safety, security, safeguards, transport, and conventional health and safety. This includes: workforce resilience, emergency arrangements resilience, supply chain resilience, fire safety, events on the site and activities taking place on the site.

ONR undertook a routine engagement the purpose of which was to discuss Wylfa’s planned turbine hall demolition, including isolating services, and the provision of the site’s future power requirements.

Non-Routine Matters
Licensees are required to have arrangements to respond to non-routine matters and events. ONR inspectors judge the adequacy of the licensee’s response, including actions taken to implement any necessary improvements.
In accordance with its written arrangements, on 29 November 2022 Wylfa advised ONR that a fire had occurred during planned dismantling of a redundant transformer. The transformer had been stored at the north end of the site for several years and was not in a radiological controlled area. ONR was satisfied that Wylfa’s response to this event was adequate and is now awaiting the outcome of the site’s investigation before determining any regulatory follow up actions.

Regulatory Activity
ONR may issue formal documents to ensure compliance with regulatory requirements. Under nuclear site licence conditions, ONR issues regulatory documents, which either permit an activity or require some form of action to be taken; these are usually collectively termed ‘Licence Instruments’ (LIs) but can take other forms. In addition, inspectors may take a range of enforcement actions, to include issuing an Enforcement Notice.
No LIs, Enforcement Notices or Enforcement letters were issued during this period.
Reports detailing our regulatory decisions can be found on the ONR website at http://www.onr.org.uk/pars/.

News from ONR
For the latest news and information from the Office for Nuclear Regulation, please read and subscribe to our regular email newsletter ‘ONR News’ at www.onr.org.uk/onrnews

Contacts
Office for Nuclear Regulation
Redgrave Court
Merton Road
Bootle
Merseyside
L20 7HS
website:	www.onr.org.uk
email:	Contact@onr.gov.uk
This document is issued by the Office for Nuclear Regulation (ONR). For further information about ONR, or to report inconsistencies or inaccuracies in this publication please visit http://www.onr.org.uk/feedback.htm.
© Office for Nuclear Regulation, 2023
If you wish to reuse this information visit www.onr.org.uk/copyright.htm for details.
Published 01/23
For published documents, the electronic copy on the ONR website remains the most current publicly available version and copying or printing renders this document uncontrolled.