|  |
| --- |
|  |
| ONR Site Report  Hinkley Point B |



ONR Site Report

Hinkley Point B

Report for period: 1 October – 31 December 2022

Authored by: Nominated Site Inspector

Approved by: Delivery Lead Operating Reactors

Issue No.: 1

Publication Date: 02/23

ONR Record Ref. No.: 2023/9560

Foreword

This report is issued as part of ONR's commitment to make information about inspection and regulatory activities relating to the above site available to the public. Reports are distributed to members of the Hinkley Point Site Stakeholder Group and are also available on the ONR website (<http://www.onr.org.uk/llc/>).

Site inspectors from ONR usually attend Hinkley Point Site Stakeholder Group meetings where these reports are presented and will respond to any questions raised there. Any person wishing to inquire about matters covered by this report should contact ONR.

Contents

[1. Inspections 4](#_Toc124509190)

[2. Routine Matters 4](#_Toc124509191)

[3. Non-Routine Matters 6](#_Toc124509192)

[4. Regulatory Activity 6](#_Toc124509193)

[5. News from ONR 6](#_Toc124509194)

[6. Contacts 7](#_Toc124509195)

# Inspections

## Date(s) of Inspection

The ONR site inspector and specialist inspectors made inspections on the following dates during the report period 1 October – 31 December 2022:

11 – 13 October 2022

15 – 17 November 2022

7 – 8 December 2022

The ONR site security inspectors made inspections on the following dates:

4 – 5 October 2022

7 – 8 December 2022

# Routine Matters

## Inspections

Inspections are undertaken as part of the process for monitoring compliance with:

* the conditions attached by ONR to the nuclear site licence granted under the Nuclear Installations Act 1965 (NIA65) (as amended);
* the Energy Act 2013;
* the Health and Safety at Work etc Act 1974 (HSWA74); and
* regulations made under HSWA74, for example the Ionising Radiations Regulations 2017 (IRR17) and the Management of Health and Safety at Work Regulations 1999 (MHSWR99).
* The Fire (Scotland) Act 2005;
* The Nuclear Industries Security Regulations (NISR) 2003;
* The Nuclear Safeguards (EU Exit) Regulations 2019 (NSR19).

The inspections entail monitoring the licensee’s actions on the site in relation to incidents, operations, maintenance, projects, modifications, safety case changes and any other matters that may affect safety. The licensee is required to make and implement adequate arrangements under the conditions attached to the licence to ensure legal compliance. Inspections seek to judge both the adequacy of these arrangements and their implementation.

In this period, routine inspections of Hinkley Point B covered the following:

* emergency preparedness;

Emergency preparedness – On the 13 October 2022, ONR inspectors evaluated a demonstration of the station’s emergency arrangements. The emergency exercise was judged to be adequate and an effective challenge to the emergency response arrangements. Some learning opportunities were identified in relation to casualty management. Since similar learning opportunities have been identified at other stations this is being pursued on a corporate basis.

Members of the public, who would like further information on ONR’s inspection activities during the reporting period, can view site Intervention Reports at [www.onr.org.uk/intervention-records](http://www.onr.org.uk./intervention-records) on our website [www.onr.org.uk](http://www.onr.org.uk).

Should you have any queries regarding our inspection activities, please email [contact@onr.gov.uk](mailto:contact@onr.gov.uk).

## Other Work

ONR inspectors from safety, security and safeguards also attended the annual review of safety, security and safeguards on the 17 November 2022.

# Non-Routine Matters

Licensees are required to have arrangements to respond to non-routine matters and events. ONR inspectors judge the adequacy of the licensee’s response, including actions taken to implement any necessary improvements.

No matters or events of concern were recorded during the period.

# Regulatory Activity

ONR may issue formal documents to ensure compliance with regulatory requirements. Under nuclear site licence conditions, ONR issues regulatory documents, which either permit an activity or require some form of action to be taken; these are usually collectively termed ‘Licence Instruments’ (LIs) but can take other forms. In addition, inspectors may take a range of enforcement actions, to include issuing an enforcement notice.

No LIs, enforcement notices or enforcement letters were issued during this period.

# News from ONR

For the latest news and information from ONR, please read and subscribe to our regular email newsletter ‘ONR News’ at [www.onr.org.uk/onrnews](http://www.onr.org.uk/onrnews).

# Contacts

Office for Nuclear Regulation

Redgrave Court

Merton Road

Bootle

Merseyside

L20 7HS

website: [www.onr.org.uk](http://www.onr.org.uk)

email: [Contact@onr.gov.uk](mailto:Contact@onr.gov.uk)

This document is issued by ONR. For further information about ONR, or to report inconsistencies or inaccuracies in this publication please visit <http://www.onr.org.uk/feedback.htm>.

If you wish to reuse this information visit [www.onr.org.uk/copyright.htm](http://www.onr.org.uk/copyright.htm) for details.

For published documents, the electronic copy on the ONR website remains the most current publicly available version and copying or printing renders this document uncontrolled.