ONR Site Report NRS Ltd – Hinkley Point A

ONR Site Report

NRS Ltd - Hinkley Point A

Report for period: 1 July – 31 December 2024

Authored by: Nominated Site Inspector

Approved by: Superintending Inspector

Issue: 1

Published: January 2025

Record reference: 2025/449

Foreword

This report is issued as part of ONR's commitment to make information about inspection and regulatory activities relating to the above site available to the public. Reports are distributed to members for the Hinkley Point A&B Site Stakeholder Group and are also available on the ONR website (https://www.onr.org.uk/publications/regulatory-reports/site-specific-reports/llcssg-reports/).

Site inspectors from ONR usually attend the Hinkley Point A&B Site Stakeholder Group meetings where these reports are presented and will respond to any questions raised there. Any person wishing to inquire about matters covered by this report should contact ONR.

Contents

1.	Inspections	4

2.	Routine matters	5

3.	Non-routine matters	7

4.	Regulatory activity	8

5.	News from ONR	9

6.	Contacts	9

# Inspections

## Date(s) of inspection

ONR Inspectors made inspections on the following dates during the report period 1 July to 31 December 2024:

- 23 July 2024

- 4, 5 & 18 September 2024

- 17 October 2024

- 26 November  2024

# Routine matters

## Inspections

Inspections are undertaken as part of the process for monitoring compliance with:

the conditions attached by ONR to the nuclear site licence granted under the Nuclear Installations Act 1965 (NIA65) (as amended);

the Energy Act 2013

the Health and Safety at Work etc Act 1974 (HSWA74); and

regulations made under HSWA74, for example the Ionising Radiations Regulations 2017 (IRR17) and the Management of Health and Safety at Work Regulations 1999 (MHSWR99).

The inspections entail monitoring the licensee’s actions on the site in relation to incidents, operations, maintenance, projects, modifications, safety case changes and any other matters that may affect safety. The licensee is required to make and implement adequate arrangements under the conditions attached to the licence in order to ensure legal compliance. Inspections seek to judge both the adequacy of these arrangements and their implementation.

In this period, routine inspections of NRS Ltd Hinkley Point A covered the following:

management of operations including control and supervision;

staff training, qualifications and experience;

plant construction and/or commissioning;

radiological protection;

decommissioning;

organisational changes;

security

Members of the public, who would like further information on ONR’s inspection activities during the reporting period, can view site Inspection Records on our website: www.onr.org.uk.

Should you have any queries regarding our inspection activities, please email contact@onr.gov.uk.

## Other work

The site inspector attended the NRS Ltd Oldbury, Berkeley and Hinkley Point A Quarterly Regulator Interface Meeting on the 10 October 2024 to discuss issues, events and project milestone updates at the sites. The overall site performance across the NRS Ltd southwest region remains adequate and no new issues which would significantly impact ONR’s purposes were identified.

The site inspector held regular meetings with the Site Director and weekly keep-in-touch meetings with the operational staff on site. During these meetings they discussed regulatory issues, site incidents, future permissioning and progress with significant decommissioning milestone delivery.

The site inspector also met with the Hinkley Point A Trade Union Safety Representatives several times during the reporting period, although no significant safety issues were raised.

# Non-routine matters

Licensees are required to have arrangements to respond to non-routine matters and events. ONR inspectors judge the adequacy of the licensee’s response, including actions taken to implement any necessary improvements.

There were no such matters or events of significance during the period.

# Regulatory activity

ONR may issue formal documents to ensure compliance with regulatory requirements. Under nuclear site licence conditions, ONR issues regulatory documents, which either permit an activity or require some form of action to be taken; these are usually collectively termed ‘Licence Instruments’ (LIs) but can take other forms. In addition, inspectors may take a range of enforcement actions, to include issuing an Enforcement Notice.

No LIs, Enforcement Notices or Enforcement letters were issued during this period.

# News from ONR

For the latest news and information from ONR, please read and subscribe to our regular email newsletter ‘ONR News’ at https://www.onr.org.uk/news/newsletter/.

# Contacts

Office for Nuclear Regulation

Redgrave Court

Merton Road

Bootle

Merseyside

L20 7HS

website: www.onr.org.uk

email: 	Contact@onr.gov.uk

This document is issued by ONR. For further information about ONR, or to report inconsistencies or inaccuracies in this publication please email contact@onr.gov.uk.

If you wish to reuse this information visit  https://www.onr.org.uk/access-to-information/copyright/ for details.

For published documents, the electronic copy on the ONR website remains the most current publicly available version and copying or printing renders this document uncontrolled.